## BOQ - C&I
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Demolition of the Existing Food Counters | Sqmt | 25 | 250 | 6250
2 | Removal of Existing Door | Nos. | 1 | 2000 | 2000
3 | Preparation of Lawn Area | Sqmt | 150 | 450 | 67500
4 | Floor Protection | Sqmt | 2690 | 40 | 107600
5 | Debris Removal | Loads | 60 | 4000 | 240000
6 | 150mm Thick AAC Block Wall | Sqmt | 815 | 1450 | 1181750
7 | Cement Plastering | Sqmt | 2252 | 460 | 1035920
8 | Screeding - 75mm Thick | Sqmt | 346 | 630 | 217980
9 | POP Punning | Sqmt | 1952 | 180 | 351360
10 | RCC Lintel (for Doors) | Rmt | 56.5 | 800 | 45200
11 | Waterproofing (For Floor + Walls 450 mm High) | Sqmt | 680 | 840 | 571200
12 | Pest Control and Anti-Termite Treatment | Sqmt | 2960 | 65 | 192400
13 | Printed Tile Flooring - Type -01 (Size: 1200mm X 1200mm) | Sqmt | 1178 | 1850 | 2179300
14 | Printed Tile Flooring - Type -02 (Size: 1200mm X 1200mm) | Sqmt | 360 | 1850 | 666000
15 | Tile Flooring - Type -01 (Size: 600mm X 1200mm) | Sqmt | 530 | 1350 | 715500
16 | Tile Flooring - Type -02 (Size: 600mm X 600mm) | Sqmt | 25 | 1350 | 33750
17 | Sports Vinyl Flooring | Sqmt | 45 | 2200 | 99000
18 | SPC / LVT Flooring | Sqmt | 140 | 1200 | 168000
19 | Self Levelling - 3mm to 5mm Thick | Sqmt | 640 | 350 | 224000
20 | 50mm Vitrified Tile Skirting | Rmt | 355 | 150 | 53250
21 | Interface Trims/Transition Profiles | Rmt | 35 | 260 | 9100
22 | Recreation Area | Sqmt | 150 | 1350 | 202500
23 | Multipurpose Hall | Sqmt | 270 | 1550 | 418500
24 | Heavy Duty Matting for Gym Area (15mm Thickness) | Sqmt | 35 | 2650 | 92750
25 | Raised Flooring upto 350mm Height (+/- 50mm) | Sqmt | 220 | 1400 | 308000
26 | Strip Granite Flooring for Ramps | Sqmt | 5 | 4000 | 20000
27 | SS Railing | Rmt | 95 | 1850 | 175750
28 | 100mm Thick MR GRADE Gypsum Board Full Height Partition Without Finish - GI Framework (Both Side GYP Board) | Sqmt | 150 | 2900 | 435000
29 | Glass Partition - (till 2400mm high) | Sqmt | 240 | 3550 | 852000
30 | Designer Partitions | Sqmt | 40 | 7500 | 300000
31 | Sliding Folding Partition (Metal Fabrication) | Sqmt | 266 | 10360 | 2755760
32 | Modular Washroom Cubicles | Nos. | 19 | 23000 | 437000
33 | Column Cladding (Finishes: MDF Panel + Brick Texure) | Sqmt | 244 | 3800 | 927200
34 | Modular Black Anodized Aluminium Corner Guard (Column/Partitions) | Rmt | 40 | 345 | 13800
35 | 18mm Thickness | Sqmt | 350 | 2750 | 962500
36 | Door Frame | Rmt | 146.2 | 1550 | 226610
37 | Metal Fire Door | Nos. | 2 | 75000 | 150000
38 | Door Size : 1000mm X 2400mm - (SINGLE LEAF) | Nos. | 5 | 22000 | 110000
39 | Door Size : 1000mm X 2400mm - with Vision Panel | Nos. | 17 | 25000 | 425000
40 | Door Size : 1200mm X 2400mm | Nos. | 1 | 24000 | 24000
41 | Door Size : 1500mm X 2400mm. (DOUBLE LEAF) | Nos. | 2 | 40000 | 80000
42 | 1000mm x 2400mm Single Leaf Door | Nos. | 3 | 42000 | 126000
43 | 1500mm x 2400mm Double Leaf Door | Nos. | 4 | 75000 | 300000
44 | Premium Acrylic Emulsion Paint (Wall / Partitions) | Sqmt | 4125 | 300 | 1237500
45 | Smart Ultra High Contrast Projector Screen Paint | Sqmt | 60 | 500 | 30000
46 | Graphics / Branding - on Wall & Partition | Sqmt | 150 | 1700 | 255000
47 | Framed Graphics / Framed Artwork | Sqmt | 37 | 5350 | 197950
48 | Primer for Wallpaper / Graphics | Sqmt | 150 | 150 | 22500
49 | Decorative Cladding/ Acoustic Panelling | Sqmt | 110 | 2400 | 264000
50 | Mirror Panelling | Sqmt | 89 | 4000 | 356000
51 | Metal Mesh | Sqmt | 20 | 4245 | 84900
52 | Laminate Panelling | Sqmt | 128 | 2900 | 371200
53 | Niche for TV | Sqmt | 15 | 900 | 13500
54 | FRP Cladding | Sqmt | 42.2 | 3650 | 154030
55 | Dadoo Tile - Type 01 | Sqmt | 240 | 1700 | 408000
56 | Dadoo Tile - Type 02 | Sqmt | 309 | 1700 | 525300
57 | Dadoo Tile - Type 03 | Sqmt | 30 | 1700 | 51000
58 | Dadoo Tile - Type 04 | Sqmt | 70 | 1900 | 133000
59 | Frost Film | Sqmt | 114 | 1000 | 114000
60 | Passing Window Cutout | Sqmt | 18 | 4000 | 72000
61 | Painting for True Ceiling | Sqmt | 2844 | 300 | 853200
62 | Spray matte finish oil based enamel painting (AC duct & Cable tray) - 60% of true ceiling area | Sqmt | 1050 | 350 | 367500
63 | Plain Gypsum board ceiling finished with acrylic emulsion paint of approved shade | Sqmt | 346 | 320 | 110720
64 | Accoustic Cloud Ceiling | Sqmt | 300 | 4000 | 1200000
65 | Ply Supports for Decorative Light Fixtures / Ply HVAC Grills / Service | Sqmt | 50 | 300 | 15000
66 | Metal False Ceiling | Sqmt | 36 | 5400 | 194400
67 | Metal Baffel Ceiling | Sqmt | 200 | 2900 | 580000
68 | Waterproof Modular Grid Ceiling - Washrooms: | Sqmt | 10 | 1700 | 17000
69 | Granite Top Counter | Rmt | 100 | 7500 | 750000
70 | Microwave Counter | Sqmt | 32 | 7500 | 240000
71 | High Table (Size: 4500mm X150mm) | Nos. | 16 | 14500 | 232000
72 | Microwave (Size: 3000mm X150mm ) | Nos. | 3 | 9800 | 29400
73 | Recreation Area (Size: 1000mm dia) | Nos. | 4 | 22200 | 88800
74 | Multipurpose Hall & Terrace | Nos. | 8 | 9900 | 79200
75 | Granite Steps with Pebbles (Beautification) | Sqmt | 21.2 | 5500 | 116600
76 | Food Counter - Banner Placement (Metal Mesh Finish) | Rmt | 35 | 4500 | 157500
77 | L-Shape Counter | Rmt | 5 | 15000 | 75000
78 | Size : 2700mm (L) x 1000mm (D) x 1050mm (H). | Nos. | 4 | 63840 | 255360
79 | Size : 4000mm (L) x 1000mm (D) x 1050mm (H). | Nos. | 1 | 94620 | 94620
80 | Size : 4000mm (L) x 575mm (D) x 1050mm (H) | Nos. | 1 | 54435 | 54435
81 | Size : 4500mm (L) x 1000mm (D) x 1050mm (H) | Nos. | 4 | 106448 | 425792
82 | Size : 2100mm (L) x 1000mm (D) x 1050mm (H) | Nos. | 2 | 49685 | 99370
83 | Size : 2960mm (L) x 1000mm (D) x 1050mm (H). | Nos. | 1 | 70965 | 70965
84 | Size : 2100mm (L) x 600mm (D) x 1050mm (H) | Nos. | 1 | 29735 | 29735
85 | Size : 3945mm (L) x 600mm (D) x 1050mm (H) & Size : 2745mm (L) x 600mm (D) x 1050mm (H) (L-Shape High Table) | Nos. | 1 | 95095 | 95095
86 | Size : 5700mm (L) x 600mm (D) x 1050mm (H) | Nos. | 1 | 80940 | 80940
87 | Size : 1200mm x 600mm | Nos. | 4 | 12350 | 49400
88 | Size : 1425mm x 600mm | Nos. | 2 | 12920 | 25840
89 | Size : 600mm (DIA) | Nos. | 2 | 10450 | 20900
90 | Size : 750mm (DIA) | Nos. | 14 | 11590 | 162260
91 | Steps Seating | Sqmt | 26 | 5225 | 135850
92 | Circular Seating | Sqmt | 10 | 11400 | 114000
93 | S-Shaped Seating with Planters | Sqmt | 10 | 11400 | 114000
94 | Stage with Steps | Sqmt | 35 | 4275 | 149625
95 | Size : 1200mm x 750mm x 1050mm | Nos. | 2 | 14250 | 28500
96 | Dry Pantry – Under Counter Storage (600 mm depth) | Sqmt | 35 | 22800 | 798000
97 | Dry Pantry – Overhead Storage | Sqmt | 9 | 14250 | 128250
98 | Handwash Area – Under Counter | Sqmt | 20 | 17100 | 342000
99 | Dishwash Area – Under Counter | Sqmt | 10 | 17100 | 171000
100 | Booth Sofa Seating | Rmt | 114 | 4750 | 541500
101 | Booth Seating Table (Size: 1900mm x 900mm) | Nos. | 26 | 21375 | 555750
102 | Size: 1425mm x 600mm | Nos. | 2 | 13566 | 27132
103 | Size: 3000mm x 600mm | Nos. | 6 | 29070 | 174420
104 | Size: 1500mm x 600mm | Nos. | 2 | 14535 | 29070
105 | Size: 5250mm x 600mm : 1600mm x 600mm (C-Shape seating) | Nos. | 1 | 74129 | 74129
106 | Size: 1625mm x 600mm : 1625mm x 600mm (L-Shape seating) | Nos. | 1 | 39002 | 39002
107 | Size: 2600mm x 600mm | Nos. | 3 | 24225 | 72675
108 | Boxing for Shutter for Rainwater Harvesting Pipe | Sqmt | 11 | 7125 | 78375
109 | Pelmet | Rmt | 105 | 1140 | 119700
110 | Doctor's Table with Side Pedestal | Nos. | 1 | 19000 | 19000
111 | Shoe Rack (1800mm X 450mm) | Sqmt | 5 | 6650 | 33250
112 | Steel : Providing and fixing modular locker units in CRCA steel, complete with locks and numbering as per requirement. Size : 450mm x 450mm x 300mm | Nos. | 125 | 2660 | 332500
113 | Wooden : Providing and fixing modular locker units in ply with laminate finish, complete with locks and numbering as per requirement Size : 450mm x 450mm x 300mm | Nos. | 70 | 2185 | 152950
114 | Changing Table | Nos. | 2 | 20000 | 40000
115 | Wall Mounted Fans | Nos. | 25 | 4800 | 120000
116 | Ceiling Fans | Nos. | 15 | 2900 | 43500
117 | Blinds | Sqmt | 380 | 1100 | 418000
118 | Granite Ledge - 350mm Wide (Plate Drop) | Rmt | 3 | 5500 | 16500
119 | Slots for Marker | Nos. | 2 | 2000 | 4000
120 | Planter Boxes - Beautification | Nos. | 7 | 12000 | 84000
121 | Professional Housekeeping | LS | 1 | 155000 | 155000
122 | Site Office | LS | 1 | 100000 | 100000
123 | Timelapse Video of 3mins (Terrace & 1st Floor) | LS | 1 | 155000 | 155000

## BOQ - Loose Furniture
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | 8 Seater Dining Table | Nos. | 1 | 24300 | 24300
2 | 6 Seater Dining Table | Nos. | 76 | 18900 | 1436400
3 | 4 Seater Dining Table | Nos. | 35 | 11250 | 393750
4 | Circular 3 - Seater Table (Dia 900mm) | Nos. | 4 | 12150 | 48600
5 | Circular High Table | Nos. | 8 | 10800 | 86400
6 | Centre Table - Recreation Area | Nos. | 6 | 8010 | 48060
7 | Loose Seating- Pouf | Nos. | 5 | 5760 | 28800
8 | Bench - Gym Area | Nos. | 2 | 10800 | 21600
9 | Rectangular Table | Nos. | 8 | 11250 | 90000
10 | Side Table - Rectangular | Nos. | 1 | 6210 | 6210
11 | Bedside Side Table - Rectangular | Nos. | 1 | 6210 | 6210
12 | Slotted angle racks - 950mm (L) x 450mm (D) | Nos. | 6 | 1260 | 7560
13 | Size : 1200mm x 600mm x 2000mm | Nos. | 40 | 6300 | 252000
14 | Size : 1200mm x 450mm x 2000mm | Nos. | 12 | 5400 | 64800

## BOQ - Chairs
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Chairs - 6 & 4 Seater | Nos. | 588 | 2000 | 1176000
2 | Chairs - Metal | Nos. | 2 | 2000 | 4000
3 | High Chairs | Nos. | 148 | 6300 | 932400
4 | Circular 3 Seater Chair | Nos. | 11 | 2300 | 25300
5 | Multipurpose Hall - Chairs | Nos. | 120 | 3800 | 456000
6 | Doctor's Room - Chair | Nos. | 3 | 2800 | 8400
7 | Waiting area - Chair | Nos. | 4 | 2800 | 11200
8 | Carrom Table - Chairs | Nos. | 12 | 2000 | 24000

## BOQ - Lights
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Recessed Light - 120mm | Nos. | 131 | 1100 | 144100
2 | Hanging Cylindrical Light | Nos. | 736 | 1470 | 1081920
3 | Designer Light 01 | Nos. | 30 | 5500 | 165000
4 | Curved Linear LED Profile Light (Continuous Perimeter Lighting) | Rmt | 85 | 4050 | 344250
5 | Designer Light – Gym | Nos. | 12 | 3550 | 42600
6 | Track Light | Nos. | 1 | 6000 | 6000
7 | Indoor | Rmt | 100 | 360 | 36000
8 | Outdoor | Rmt | 60 | 460 | 27600
9 | Cylinder Downlight – Concealed in Gypsum Strip | Nos. | 82 | 1400 | 114800
10 | Acrylic “PLAY” on Ceiling (Recreational) | Nos. | 1 | 145000 | 145000

## BOQ - Plumbing Fixtures
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Water Cooler with Stand | Nos. | 2 | 73000 | 146000
2 | Stand for Fresh Glass | Nos. | 2 | 17000 | 34000
3 | Plastic Glasses | Nos. | 500 | 50 | 25000
4 | Wall-Mounted Soap Dispenser | Nos. | 2 | 1800 | 3600
5 | Water Dispenser - Pantry | Nos. | 4 | 10000 | 40000
6 | Washbasin with Sensor Tap | Nos. | 9 | 16000 | 144000
7 | Washbasin - Pressmatic Tap | Nos. | 31 | 16000 | 496000
8 | Soap Dispenser | Nos. | 16 | 3000 | 48000
9 | Counter Waste chute - 140mm | Nos. | 4 | 16000 | 64000
10 | Automatic Hand Dryer | Nos. | 5 | 9400 | 47000
11 | Tissue Paper Dispenser | Nos. | 2 | 9900 | 19800
12 | 3 in 1 Dustbin | Nos. | 4 | 28000 | 112000
13 | SS finish Dustbin | Nos. | 5 | 1500 | 7500
14 | WC | Nos. | 4 | 11900 | 47600
15 | Urinals | Nos. | 3 | 8900 | 26700
16 | Urinal Partition | Nos. | 3 | 8500 | 25500
17 | Rectangular Size : 450mm (L) x 750mm (H) | Nos. | 9 | 2000 | 18000
18 | Circular Size: Dia 650mm | Nos. | 2 | 2000 | 4000

## BOQ - Dishwash Area
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Soiled Dish Table with 3 Sink Pre-Wash Unit | Nos. | 2 | 45000 | 90000
2 | Cutlery Soak Sink | Nos. | 2 | 25000 | 50000
3 | Wall Mounted Pre-Rinse Unit | Nos. | 2 | 43680 | 87360
4 | Conveyor Type Dish Washing Machine | Nos. | 2 | 1250000 | 2500000
5 | Off-Loading Table | Nos. | 2 | 84000 | 168000
6 | Clean Dish Rack | Nos. | 12 | 43792 | 525504
7 | Drain Box with Grating and Perforated Tray | Nos. | 2 | 22400 | 44800
8 | Hose Reel Assembly | Nos. | 2 | 43680 | 87360
9 | Insect Killer | Nos. | 2 | 14000 | 28000
10 | Drain Box with Grating and Perforated Tray | Nos. | 2 | 22400 | 44800
11 | Air Curtain | Nos. | 2 | 31920 | 63840
12 | Garbage Bin | Nos. | 4 | 6384 | 25536

## BOQ - Planters
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Indoor Rhaphidophora pertusa Plant | Nos | 4 | 2300 | 9200
2 | CONTAINER GARDEN (with Natural Plants): - Natural Plants with basic pots to be placed inside the container boxes (Boxes to be supplied separately) - All Pots will be with Pot-in-Pot mechanism (5"/6" Size) OR Base plates to avoid water leackage - Stencil made of PVC Sheet for proper placement of Plants - Leca balls for Top dressing - Fillers if required to raise the height | Nos | 6 | 2300 | 13800
3 | Alocasia indica plant | Nos | 8 | 4600 | 36800

## Electrical
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | MAIN PANEL | Set | 2 | 247500 | 495000
2 | KITCHEN PANEL | Set | 2 | 150000 | 300000
3 | HVAC MDB | Set | 1 | 223750 | 223750
4 | MULTIPURPOSE HALL MDB | Set | 1 | 48000 | 48000
5 | VENTILATION PANEL | Set | 1 | 124000 | 124000
6 | GROUND FLOOR CRECHE PANEL | Set | 1 | 150000 | 150000
7 | GYM AREA DB | Set | 1 | 9775 | 9775
8 | KITCHEN AREA-1 DB | Set | 2 | 9775 | 19550
9 | KITCHEN AREA-2 DB | Set | 2 | 9775 | 19550
10 | KITCHEN AREA-3 DB | Set | 1 | 9775 | 9775
11 | BASEMENT DB(16 WAY SPN DB) | Set | 1 | 22400 | 22400
12 | BASEMENT DB(16 WAY SPN DB) | Set | 1 | 22400 | 22400
13 | KIOSK AREA-1 DB | Set | 2 | 9775 | 19550
14 | KIOSK AREA-2 DB | Set | 2 | 9775 | 19550
15 | CAFETRIA DB | Set | 1 | 22400 | 22400
16 | TERRACE CAFETERIA DB | Set | 1 | 22400 | 22400
17 | 3.5 core 240 sq. mm Al arm. | RM | 150 | 3073 | 460950
18 | 3.5 core 185 sq. mm Al arm. | RM | 375 | 2401 | 900375
19 | 3.5 core 120 sq. mm Al arm. | RM | 110 | 1794 | 197340
20 | 3.5 core 95 sq. mm Al arm. | RM | 15 | 1684 | 25260
21 | 3.5 core 70 sq. mm Al arm. | RM | 180 | 1547 | 278460
22 | 3.5 core 50 sq. mm Al arm. | RM | 130 | 1346 | 174980
23 | 3.5 core 35 sq. mm Al arm. | RM | 15 | 1346 | 20190
24 | 3.5 core 25 sq. mm Al arm. | RM | 110 | 904 | 99440
25 | 4 core 16 sq.mm Cu arm. | RM | 690 | 583 | 402270
26 | 4 core 10 sq.mm Cu arm. | RM | 720 | 542 | 390240
27 | 4 core 6 sq.mm Cu arm. | RM | 70 | 437 | 30590
28 | 4 core 4 sq.mm Cu arm. | RM | 350 | 306 | 107100
29 | 3.5 core 240 sq. mm Al arm. | No. | 4 | 3050 | 12200
30 | 3.5 core 185 sq. mm Al arm. | No. | 8 | 2290 | 18320
31 | 3.5 core 120 sq. mm Al arm. | No. | 6 | 2100 | 12600
32 | 3.5 core 95 sq. mm Al arm. | No. | 2 | 2100 | 4200
33 | 3.5 core 70 sq. mm Al arm. | No. | 6 | 1910 | 11460
34 | 3.5 core 50 sq. mm Al arm. | No. | 4 | 1910 | 7640
35 | 3.5 core 35 sq. mm Al arm. | No. | 2 | 1625 | 3250
36 | 3.5 core 25 sq. mm Al arm. | No. | 6 | 1625 | 9750
37 | 4 core 16 sq.mm Cu arm. | No. | 20 | 765 | 15300
38 | 4 core 10 sq.mm Cu arm. | No. | 22 | 765 | 16830
39 | 4 core 6 sq.mm Cu arm. | No. | 4 | 598 | 2392
40 | 4 core 4 sq.mm Cu arm. | No. | 14 | 598 | 8372
41 | 900 mm x 100 mm | RM | 200 | 2293 | 458600
42 | 600 mm x 100 mm | RM | 10 | 1854 | 18540
43 | 450 mm x 100 mm | RM | 35 | 1452 | 50820
44 | 300 mm x 50 mm | RM | 115 | 1086 | 124890
45 | 200 mm x 100 mm | RM | 45 | 739 | 33255
46 | 100 mm x 50 mm | RM | 50 | 502 | 25100
47 | Earth Terminal Box with GI strip with 600mm L X 50mm W X 10mm thk with minimum 30 perforation complete with GI mounting brackets to be mounted on the wall | No. | 2 | 1240 | 2480
48 | 50 x 6 mm thick GI tape | RM | 590 | 479 | 282610
49 | 25 x 6 mm thick GI tape | RM | 320 | 307 | 98240
50 | Point for 6/16 amps switched socket outlet. | Pt | 43 | 1340 | 57620
51 | Point for 6 amps switched socket outlet. | Pt | 15 | 1293 | 19395
52 | Circuit Wiring with 20 Amps switched socket outlet with 2 x 4 sq.mm & 1 x 2.5 sq.mm PVC insulated copper conductor 1100 volts grade stranded flexible FRLS wires in exposed / recessed 25 mm dia PVC Conduit including fixing of one no. 20 Amps 5 Pin Switch Shuttered Socket outlet of aprpoved make and design in 1.16 mm thick GI box with grid plate and earthing of third pin of the socket with 2.5 Sq. mm PVC insulated copper conductor stranded flexible FRLS wire complete in all respect. | Pt | 12 | 2200 | 26400
53 | 3C X 4 Sq.mm | RM | 1910 | 215 | 410650
54 | 3C X 2.5 Sq.mm | RM | 7630 | 153 | 1167390
55 | 3C X 1.5 Sq.mm | RM | 3455 | 115 | 397325
56 | 25 mm dia | RM | 4380 | 48 | 210240
57 | Sub meter - 80A (For Kitchen-1 & 2) | Nos. | 2 | 9550 | 19100
58 | Sub meter - 50A (For Kitchen-2 & 3) | Nos. | 2 | 7825 | 15650
59 | Sub meter - 40A (For Kitchen- 1) | Nos. | 1 | 6825 | 6825
60 | Sub meter - 25A (For KIOSK-1 & 2) | Nos. | 4 | 7825 | 31300
61 | Rubber mat 1100V grade ISI approved - 2 m x 1m | Nos. | 4 | 4380 | 17520
62 | Shock treatment chart as approved by the Electrical Inspectorate mounted on teak wood frame and suitable for wall mounting in 3 languages (Telugu, English & Hindi) | Nos. | 2 | 6023 | 12046
63 | First aid kit | Nos. | 1 | 4380 | 4380
64 | Danger boards | Nos. | 2 | 1354 | 2708
65 | Danger signage stickers on DB frames | Nos. | 5 | 1354 | 6770
66 | Supply & fixing of rubber gloves, gloves stand with wall mounting of Approved Make & as per supply voltage | Nos. | 1 | 2240 | 2240
67 | Laminated Schematic with glass frame | Nos. | 1 | 4680 | 4680
68 | Supply and Installation of DB Frame with wire ways shall be made out of 1.6mm thick CRCA sheet steel and powder coating colour shall match the colour of MCB DB's with hinged type door. 150mm x 100mm 1.6mm thick, wire ways / Raceway with 2mm thick screwed / press to fit cover with hinged type door for making Frame for MCB DB's. Complete required including installation accessories. | Rmt | 20 | 3385 | 67700
69 | Supply, installation of powder coated MS box /angle support of 50x50x6mm size for suspending the lights below services and to route cable in same for connectivity with necessary accessories. | Nos | 30 | 884 | 26520
70 | Preparation and Submission of as built drawings of total work executed (5 Sets hard and 5 Sets soft copy) | Nos | 1 | 70000 | 70000
71 | MS Fabricated Items | Kg | 500 | 106 | 53000
72 | Temporary Lighting & Power arrangement with sufficient temporary Lighting ( Min 200Lux Ave. ) & power shall be provided to all agencies during execution with the following requirements | LS | 1 | 55000 | 55000

## HVAC
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | ODU-1 - 60HP Top discharge (FOR 1ST FLOOR CAFETERIA 15 NOS. INDOOR UNITS CONNECTED) with joining kit and ODU stand | Nos | 1 | 872268 | 872268
2 | ODU-2 - 40HP Top discharge (FOR 1ST FLOOR CAFETERIA 10 NOS. INDOOR UNITS CONNECTED) with joining kit and ODU stand | Nos | 1 | 582062 | 582062
3 | ODU-3 - 36HP Top discharge (FOR 1ST FLOOR BREAKOUT, GYM & DOCTOR ROOM) with joining kit and ODU stand | Nos | 1 | 544820 | 544820
4 | ODU-4 - 22HP Top discharge (FOR MULTIPURPOSE HALL ) with joining kit and ODU stand | Nos | 1 | 352313 | 352313
5 | ODU-5 - 12HP Side discharge (FOR GROUND FLOOR CRECHE AREA) with ODU stand | Nos | 1 | 189924 | 189924
6 | 4.0 TR ( 1100 CFM) (1st fl Cafeteria & Gym.) | Nos | 27 | 33851 | 913977
7 | 3.0 TR (900 CFM ) (Breakout Area) | Nos | 9 | 30431 | 273879
8 | 3.0 TR (900 CFM ) (Creche Area) | Nos | 4 | 30431 | 121724
9 | 2.5 TR ( 700 CFM ) (Doctor Room) | Nos | 1 | 28848 | 28848
10 | 2.5 TR ( 700 CFM ) (Multipurpose Hall) | Nos | 9 | 28848 | 259632
11 | 1.0 TR (300 CFM ) (Doctor Waiting Area) | No | 1 | 24668 | 24668
12 | SITC of cordless Remote to control on/off & Temp Setting of individual FCUs & groups of FCUs/outdoor/indoor units | Nos | 12 | 3452 | 41424
13 | SITC of cordless receiver kit for IDUs | Nos | 51 | 2201 | 112251
14 | SITC of Centrallised System Contoller with adaptor to control all the ODUs & IDUs with Machine coding | Lot | 3 | 34126 | 102378
15 | Referigerant Pipes (Suction+Discharge)VRF system for All Indoor units (1st Floor) | Rmt | 550 | 1853 | 1019150
16 | Referigerant Pipes (Suction+Discharge)VRF system for All Indoor units (Ground Floor Creche Area) | Rmt | 45 | 1853 | 83385
17 | Referigerant Pipes (Suction+Discharge)VRF system for All Indoor units (Multipurpose Hall) | Rmt | 70 | 1853 | 129710
18 | Y joints (Refnet joints) | Nos | 46 | 4370 | 201020
19 | Supply, Fabrication and Installation of outdoor unit , vibration isolator pads, supports hangers, railing, brackets etc. | LOT | 3 | 42750 | 128250
20 | 150X75mmx1.2 mm thickness | Rmt | 370 | 846 | 313020
21 | 200X75mmx1.2 mm thickness | Rmt | 40 | 1008 | 40320
22 | 250X75mmx1.2 mm thickness | Rmt | 55 | 1169 | 64295
23 | Cover for cable tray | Rmt | 20 | 1207 | 24140
24 | 50 mm | Rmt | 73 | 542 | 39566
25 | 40 mm | Rmt | 62 | 428 | 26536
26 | 32 mm | Rmt | 168 | 361 | 60648
27 | 25 mm | Rmt | 205 | 286 | 58630
28 | 24 G GSS duct C&SS (TFA DUCT) | sq.mt. | 325 | 1235 | 401375
29 | 20 G GSS duct C&SS (FRESH AIR DUCT KITCHEN) | sq.mt. | 790 | 1520 | 1200800
30 | 16 G MS duct C&SS (SMOKE EXHAUST AIR DUCT) - Fire paint to be considered | sq.mt. | 720 | 5464 | 3934080
31 | 16 G MS C&SS (EXHAUST AIR DUCT KITCHEN) | sq.mt. | 890 | 5464 | 4862960
32 | 25 mm thick class "O" Nitrile Rubber with fire retardant adhesives recommended by OEM. Self adhesive pins, Washers, safties , etc. | sq.mt. | 280 | 886 | 248080
33 | Plant Room 15 mm thick with white RP tissue + 18G chickenwire mesh | sq.mt. | 85 | 1133 | 96305
34 | 13 mm thick - TFA DUCT | sq.mt. | 325 | 518 | 168350
35 | Smoke Fire Dampers with Fusible links and LIMIT SWITCH (UL LISTED ONLY). Fire Dampers Sleeves to be a part of OEM | sq.mt. | 12.75 | 19794 | 252373.5
36 | Supply & Installation of FIRE RETARDANT Canvass Connections for all FA & EA fans. | Nos. | 10 | 5615 | 56150
37 | Square / Rectangular diffusers. extruded aluminium, removal core type, with Aluminium VCD. The diffuser, damper with Plenum and Nitrile Rubber insulated from OEM. | sq.mt. | 13.6 | 11400 | 155040
38 | Volume Control Damper | sq.mt. | 36.1 | 8360 | 301796
39 | Duct Access Door | Nos. | 29 | 9500 | 275500
40 | Complete balancing and Commissoning of AC system to gether with 1 SET OF PRE COMMISONING FILTERS FOR All INDOOR/OUTDOOR MACHINES with soft contact availability for BMS Integration (Quote must NOT include BMS integration work) (GROUND & BASEMENT 1 &2 FLOOR ) | Lot | 1 | 19000 | 19000
41 | Complete balancing and Commissoning of AC system to gether with 1 SET OF PRE COMMISONING FILTERS FOR All INDOOR/OUTDOOR MACHINES with soft contact availability for BMS Integration (Quote must NOT include BMS integration work) (1st FLOOR ) | Lot | 1 | 38000 | 38000
42 | Complete balancing and Commissoning of AC system to gether with 1 SET OF PRE COMMISONING FILTERS FOR All INDOOR/OUTDOOR MACHINES with soft contact availability for BMS Integration (Quote must NOT include BMS integration work) ( TERRACE FLOOR) | Lot | 1 | 19000 | 19000
43 | Complete balancing and Commissoning of AC system to gether with 1 SET OF PRE COMMISONING FILTERS FOR All INDOOR/OUTDOOR MACHINES with soft contact availability for BMS Integration (Quote must NOT include BMS integration work) (Roof Top) | Lot | 1 | 14250 | 14250
44 | 420 cfm / 10mm wg. (Basement-1 Male Dining) | Nos. | 1 | 15200 | 15200
45 | 300 cfm / 10mm wg. (Basement-1 Female Dining) | Nos. | 1 | 11400 | 11400
46 | 270 cfm / 10mm wg. (Basement-1 Male Locker) | Nos. | 1 | 9595 | 9595
47 | 550 cfm / 10mm wg. (Basement-1 Locker) | Nos. | 1 | 19000 | 19000
48 | 420 cfm / 10mm wg. (Basement-2 Store) | Nos. | 2 | 15200 | 30400
49 | 380 cfm / 10mm wg. (Basement-1 Male Dining) | Nos. | 1 | 13300 | 13300
50 | 270 cfm / 10mm wg. (Basement-1 Female Dining) | Nos. | 1 | 9595 | 9595
51 | 245 cfm / 10mm wg. (Basement-1 Male Locker) | Nos. | 1 | 9215 | 9215
52 | 500 cfm / 10mm wg. (Basement-1 Locker) | Nos. | 1 | 18050 | 18050
53 | 380 cfm / 10mm wg. (Basement-2 Store) | Nos. | 2 | 13300 | 26600
54 | 520 cfm / 15mm wg. (Ground Floor Creche Area) | Nos. | 1 | 18335 | 18335
55 | 5900 CFM / 75 mm wg For 1st floor Kitchen Fresh Air Fan Cebinet fan | Nos | 1 | 61750 | 61750
56 | 14700 CFM / 75 mm wg For 1st & Terrace floor Kitchen Fresh Air Fan Cebinet fan | Nos | 1 | 123500 | 123500
57 | 7500 CFM / 75 mm wg For 1st floor Kitchen Exhaust Air Fan Cebinet fan | Nos | 1 | 77900 | 77900
58 | 17300 CFM / 75 mm wg For 1st & Terrace floor Kitchen Exhaust Air Fan Cebinet fan | Nos | 1 | 147250 | 147250
59 | 7500 CFM / 75 mm wg For 1st floor Kitchen | Nos | 1 | 475000 | 475000
60 | 17300 CFM / 75 mm wg For 1st & Terrace floor Kitchen | Nos | 1 | 1235000 | 1235000
61 | 6700 CFM / 50 mm wg For Multipurpose Hall | Nos | 1 | 234650 | 234650
62 | 26500 CFM / 75 mm wg For 1st floor Cafeteria | Nos | 1 | 840750 | 840750
63 | 1600x850mm (For Smoke Exhaust Duct) | Nos | 2 | 13300 | 26600
64 | Food Counters (approx. 4–6 m hood length & 6-10 nozzles) | Nos | 5 | 375250 | 1876250
65 | Kiosks (approx. 2.5–3.5 m hood length & 3-5 nozzles) | Nos | 4 | 289750 | 1159000

## FA
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Supply, Installation, testing and commissioning of Intelligent addressable optical/photo electric smoke detector with microprocessor including mounting base with LED etc. complete as per specification & having latest UL certification. (NEW/PROPOSED) | Nos. | 45 | 4500 | 202500
2 | Removal, Reinstallation, testing and commissioning of Intelligent addressable optical/photo electric smoke detector with microprocessor including mounting base with LED etc. complete as per specification & having latest UL certification. (TO BE RELOCATED) | Nos. | 9 | 700 | 6300
3 | Removal, Reinstallation, testing and commissioning of Intelligent addressable optical/photo electric Heat detector with microprocessor including mounting base with LED etc. complete as per specification & having latest UL certification. (TO BE RELOCATED) | Nos. | 5 | 700 | 3500
4 | Supply, Installation, testing and commissioning of Fault Isolator. & having latest UL certification. | Nos. | 1 | 10700 | 10700
5 | Supplying,fixing, testing & commissioning of 2 core 1.5 sqmm Cu conductor PVC insulated PVC sheathed FRLS armoured Cable as per IS-1554 including termination & all fixing arrangement. | RM | 190 | 140 | 26600
6 | Supply, Installation, Testing & Commissioning of conventional Ceiling Mounted smoke detectors | Nos. | 20 | 2300 | 46000
7 | Supply, Installation, Testing & Commissioning of Break Glass Type Manual call point and Hooter. | Nos. | 6 | 3000 | 18000
8 | Providing & laying of 2 core 1.5 sq.mm. FRLSH . Copper Cable red colour with all accessories such as MS spacers, saddles, screws etc. from the fire alarm panel till the various detectors, response indicators, manual call points etc. | Mtr. | 150 | 140 | 21000

## PA
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Supplying, fixing, testing & commissioning of 6W Ceiling Speaker with max SPL1M/1W 96dB . Frequency response of 80Hz-20KHz with a dispersion angle of 160 deg. The speaker should have tappings at 6W/3W/1.5W | Nos. | 60 | 1450 | 87000
2 | Supplying,fixing, testing & commissioning of 2 core 1.5 sqmm Cu conductor PVC insulated PVC sheathed FRLS Flexible Cable as per IS-1554 including termination & all fixing arrangement | RM | 1500 | 128 | 192000
3 | 25 mm dia conduit | RM | 1350 | 50 | 67500
4 | Supply, Installation, testing and commissioning of Intelligent Addressable Control Modules for integrating with the Fire Alarm System etc complete as required & having latest UL certification. | Nos. | 6 | 9700 | 58200
5 | Supplying, fixing, testing & commissioning of 6W Surface Mounted Speaker with max SPL1M/1W 96dB . Frequency response of 80Hz-20KHz with a dispersion angle of 160 deg. The speaker should have tappings at 6W/3W/1.5W | Nos. | 22 | 3000 | 66000

## Plumbing
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Supply, Installation, testing & Commissioning of VFD Booster Pump to boost the water at 1st floor cafeteria area, Horizontal Multistage Pumps 2HP, 10.0m3/hr@15Mtr(1 working+1 standby) with Suction-Delivery Skid, Pressure Tank, isolation valves, NRV and other accessories etc including control wiring. (Domestic Water) | set | 2 | 50000 | 100000
2 | Supply, installation & commissioning of Kessel make Grease separator plant as per DIN EN 1825 and DIN 4040‑100; For indoors installation – frost free; With integrated sludge trap; Operating side: right/left; Draining connection, fire hose quick coupling Suction and emptying sump with drain plug socket , Inspection window with wiper; Odour-proof maintenance opening, diameter: 450 mm; Filling device; Connections for inlet and outflow as per DIN EN 877; Nominal size: NS 4. The Scope is including necsaary MS platform and support to install the Grease separator to match with the invert level as per site condition. | Nos | 2 | 270000 | 540000
3 | Supply,Installation, Testing and Commissioning of wall mixer 2 in 1 system Single Lever thermostatic Diverter with spout for Concealed Fitting with Built in Non return Valve with overhead shower complete with bend pipe with regulator key .Making civil / dry wall cutouts & closing shall be inlcusive in the cost. (Gym Shower) | Nos. | 2 | 28000 | 56000
4 | 550 x 550 x 75 / 150 | Nos. | 2 | 13000 | 26000
5 | 1200 x 350 x 75 / 150 | Nos. | 2 | 16200 | 32400
6 | Supply,Installation, Testing and Commissioning of 15 mm C.P. brass bib cocks(2 in 1- Quarter turn type) of best quality (as approved by the Engineer-in-Charge).Making civil / dry wall cutouts & closing shall be inlcusive in the cost (Wash basin) | Nos. | 43 | 1800 | 77400
7 | Supply,Installation, Testing and Commissioning of 20 mm C.P. brass bib cocks(2 in 1- Quarter turn type) of best quality (as approved by the Engineer-in-Charge).Making civil / dry wall cutouts & closing shall be inlcusive in the cost (Wash basin) | Nos. | 5 | 2300 | 11500
8 | Supply,Installation, Testing and Commissioning of 25 mm C.P. brass bib cocks(2 in 1- Quarter turn type) of best quality (as approved by the Engineer-in-Charge).Making civil / dry wall cutouts & closing shall be inlcusive in the cost (Wash basin) | Nos. | 14 | 2750 | 38500
9 | Supply,Installation, Testing and Commissioning of 32 mm C.P. brass bib cocks(2 in 1- Quarter turn type) of best quality (as approved by the Engineer-in-Charge).Making civil / dry wall cutouts & closing shall be inlcusive in the cost (Wash basin) | Nos. | 8 | 3600 | 28800
10 | Supply,Installation, Testing and Commissioning of 15mm C.P. brass angle valve ( Quarter turn type) with C.P. copper connecting pipe 450 mm long and nuts, washer and brass flange complete, including cutting and making good the wall where required. Making civil / dry wall cutouts & closing shall be inlcusive in the cost.t (Wash basin) | Nos. | 33 | 2100 | 69300
11 | Supply,Installation, Testing and Commissioning of 2 way bib cock with C.P.Jet Spray, with 8mm Dia,1Rmt Long braided type Tube and accessories to complete the item. Making civil & dry wall cutouts & closing shall be inlcusive in the cost. | Nos. | 4 | 2500 | 10000
12 | 110 mm dia. | Rmt | 25 | 600 | 15000
13 | 80 mm dia. | Rmt | 3 | 480 | 1440
14 | 40 mm dia. | Rmt | 5 | 305 | 1525
15 | 110 mm dia. | Rmt | 277 | 750 | 207750
16 | 80 mm dia. | Rmt | 97 | 700 | 67900
17 | 50 mm dia. | Rmt | 130 | 480 | 62400
18 | 40 mm dia. | Rmt | 27 | 305 | 8235
19 | 32 mm dia. | Rmt | 105 | 270 | 28350
20 | Supply & installation of 100 mm dia X 75 mm dia outlet PVC floor drains with UPVC P trap & required fittings with square/round cover plate as per make specified in list with threaded sockets.Making civil / dry wall cutouts & closing shall be inlcusive in the cost. | Nos. | 12 | 1750 | 21000
21 | 15 mm dia | Rmt | 245 | 260 | 63700
22 | 20 mm dia | Rmt | 515 | 283 | 145745
23 | 25 mm dia | Rmt | 157 | 305 | 47885
24 | 32 mm dia | Rmt | 113 | 348 | 39324
25 | 40 mm dia | Rmt | 40 | 370 | 14800
26 | 50 mm dia | Rmt | 30 | 430 | 12900
27 | 65 mm dia | Rmt | 170 | 535 | 90950
28 | 32 mm dia | Rmt | 10 | 660 | 6600
29 | 15mm dia. | Nos. | 5 | 1750 | 8750
30 | 20mm dia. | Nos. | 100 | 1800 | 180000
31 | 25mm dia. | Nos. | 29 | 2862 | 82998
32 | 32mm dia. | Nos. | 10 | 3175 | 31750
33 | 40mm dia. | Nos. | 1 | 3475 | 3475
34 | 65mm dia. | Nos. | 5 | 4450 | 22250
35 | Supply, Installation, Testing and Commissioning of 15 mm dia.Auto air vent with ball valves of rating PN-16 | Nos. | 6 | 2400 | 14400
36 | 65mm dia. | Nos. | 12 | 5700 | 68400
37 | Supply, Installation, Testing and Commissioning of Dial type 6" dia Pressure Gauge ( range 0-15 kg/cm2) set with siphon tubing and pet cock of approved make & best quality. | Nos. | 4 | 6200 | 24800
38 | 65mm dia. | Nos. | 4 | 5700 | 22800
39 | 65mm dia. | Nos. | 4 | 10000 | 40000
40 | Design, Fabrication, Supply & installation of MS supports, guides, anchors, etc. including all MS plate, channel, angles, beams, hardware's, etc. complete with zinc chromate anti rust painting all for any kind of additional supporting required as per site condition | KGS | 260 | 140 | 36400
41 | 125x125mm (For Sub sandwitch & juice counter back end area soil pipe) | Nos. | 5 | 2000 | 10000
42 | 100x100mm (For Hand Wash & Gym shower area waste pipe) | Nos. | 3 | 1500 | 4500
43 | 50x50mm (For Doctor Room waste pipe) | Nos. | 1 | 1000 | 1000

## CCTV
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Supply, Installtion , Testing and Commissioing of IP Fixed Dome Camera [2MP], 1/3" CMOS, 1080P resolution, 1280 X 960P pixel @ 25/30fps, Auto Iris, , 0.19lux, Day night, PoE, with edge storage analytics, Celing Mounted Type Power supply to be taken from Ethernet cable via POE switch. The camera shall be on H.265 compression. | Nos | 27 | 7000 | 189000
2 | Supply, Installation, Testing and Commissioning of IP Fixed Bullet Camera [4MP], 1/2.7" CMOS, HDTV 1080P and 4MP resolution, 2560 x 1440 pixel @ 25/30fps, Auto Iris, 0.05lux, Day night, PoE, with edge storage analytics, Ceiling Mounted Type. Power supply to be taken from Ethernet cable via POE switch. The camera shall be on H.265 compression. | Nos | 18 | 7500 | 135000
3 | 8 Port 120W PoE Managed Switch | Nos | 1 | 26000 | 26000
4 | 16 Port 240W PoE Managed Switch +Uplink Port | Nos | 1 | 34500 | 34500
5 | 24 Port 360W PoE Managed Switch | Nos | 1 | 41000 | 41000
6 | SITC of 8 TB SATA HDD (Considered recording of All Cameras for 24 hrs and Storage for 30 days) | Nos | 6 | 22000 | 132000
7 | Cat-6, 4 Pair Cable | RM. | 2910 | 70 | 203700
8 | SITC of 25mm PVC Conduit required for Data cabling | RM. | 1120 | 55 | 61600

## Multipurpose Hall
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Short-throw Laser Projector, 7000 lumens | No. | 1 | 282543 | 282543
2 | HDMIFace Plate | No. | 1 | 7816 | 7816
3 | Wireless Presentation | No. | 1 | 69488 | 69488
4 | Wall Mount Power Pac | No. | 1 | 4939 | 4939
5 | Hand Cordless Mic | No. | 2 | 56987 | 113974
6 | Headworn Mic | No. | 2 | 79225 | 158450
7 | 4 ch. Receiver for mic | No. | 1 | 199870 | 199870
8 | Network enabled charger | No. | 2 | 28943 | 57886
9 | Active directional antenna | No. | 4 | 95784 | 383136
10 | 16) 2 x 4:1 antenna combiner | No. | 1 | 214432 | 214432
11 | Digital Sound Processor | No. | 1 | 293410 | 293410
12 | Mixer Amplifier | No. | 1 | 24120 | 24120
13 | JBL Ceiling Speaker | No. | 14 | 2346 | 32844
14 | 6' HDMI Patch Cable | No. | 2 | 2845 | 5690
15 | 35' HDMI cable | No. | 2 | 8877 | 17754
16 | Audio Cable/Mic Cable | Mtrs | 100 | 111 | 11100
17 | Speaker Cable | Mtrs | 305 | 152 | 46360
18 | UTP Cable (Ethernet) | Mtrs | 50 | 47 | 2350
19 | Cables and Connectors | No. | 1 | 22088 | 22088
20 | Installation for the above equipments | No. | 1 | 66263 | 66263
21 | Project Management & Margins | LS | 1 | 149738 | 149738

## Stage - 1st Floor
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Short-throw Laser Projector, 6000 lumens | No. | 1 | 246938 | 246938
2 | HDMIFace Plate | No. | 1 | 7816 | 7816
3 | Wireless Presentation | No. | 1 | 69488 | 69488
4 | Wall Mount Power Pac | No. | 1 | 4939 | 4939
5 | Hand Cordless Mic | No. | 2 | 21019 | 42038
6 | Headworn Mic | No. | 2 | 27885 | 55770
7 | Digital Sound Processor | No. | 1 | 143374 | 143374
8 | Mixer Amplifier | No. | 1 | 24120 | 24120
9 | Pendant speaker | No. | 12 | 7094 | 85128
10 | 6' HDMI Patch Cable | No. | 2 | 2845 | 5690
11 | 35' HDMI cable | No. | 2 | 8877 | 17754
12 | Audio Cable/Mic Cable | Mtrs | 100 | 111 | 11100
13 | Speaker Cable | Mtrs | 305 | 152 | 46360
14 | UTP Cable (Ethernet) | No. | 50 | 47 | 2350
15 | Cables and Connectors | No. | 1 | 22088 | 22088
16 | Installation for the above equipments. | No. | 1 | 66263 | 66263
17 | Project Management & Margins | LS | 1 | 54644 | 54644

## BOQ - White Goods
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Fooseball Table with Accessories | Nos. | 2 | 28310 | 56620
2 | Pool Table with Accessories | Nos. | 1 | 69825 | 69825
3 | Table Tennis Table with Accessories | Nos. | 2 | 28975 | 57950
4 | Carrom Table with Accessories | Nos. | 3 | 5795 | 17385
5 | Bed - Doctors Room | Nos. | 1 | 19000 | 19000
6 | Microwave | Nos. | 6 | 7600 | 45600
7 | Project Management & Margins | LS | 1 | 32605 | 32605

## BOQ - Gym Equipments
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | TREADMILL | Nos. | 2 | 68400 | 136800
2 | MP 905 SPIN BIKE | Nos. | 1 | 20900 | 20900
3 | WCE31 ELLIPTICAL TRAINER | Nos. | 1 | 61750 | 61750
4 | WC4522 2 STACK 4 STATION (CLUB) | Nos. | 1 | 76000 | 76000
5 | MU-1015 MULTI BENCH PRESS (LITE COMMERCIAL) | Nos. | 1 | 19000 | 19000
6 | FBS002MN FID BENCH | Nos. | 1 | 21850 | 21850
7 | PLATE & DUMBBELL RACK COMBO - 4FT | Nos. | 1 | 9500 | 9500
8 | Hex Dumbbell | Kg | 250 | 114 | 28500
9 | Olympic Plate | Kg | 250 | 114 | 28500
10 | Olympic 7 ft & 5 ft bar | Nos. | 12 | 665 | 7980
11 | EZ CURL BAR 4ft | Nos. | 1 | 2375 | 2375

## BOQ - Gas Connection
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | [240101] Ball Valve CS 1/2" Thread | Nos. | 16 | 880 | 14080
2 | [260102] Burner Pigtail 5ft | Nos. | 16 | 390 | 6240
3 | [312604] Coupling 3/8" CU x 1/2" MT Forged Brass Nipple | Nos. | 16 | 100 | 1600
4 | [270211] Gas Flow Meter MG4 (2 Bar) Diaphargm Type | Nos. | 5 | 13000 | 65000
5 | [270645] Meter Bypass 2" Flgd #150 | Nos. | 5 | 46000 | 230000
6 | [120101] Leakcheck2 Basic 2nos. of Gas Sensors - Basic Model with Panel | Nos. | 2 | 32000 | 64000
7 | [120103] Leakcheck4 Basic 4nos. of Gas Sensors - Basic Model with Panel | Nos. | 3 | 65000 | 195000
8 | [120886] Cable for LeakCheck 4 Core 0.5 Sq. mm | Mtr. | 160 | 150 | 24000
9 | [330203] Installation Cost for Gas Pipeline 2 | Mtr. | 252 | 600 | 151200
10 | [330301] Installation Cost for LeakCheck | Job | 1 | 45000 | 45000
11 | [330401] Nitrogen (N2) Testing | Job | 1 | 30000 | 30000
12 | [330502] Third Party Certification of PNG Line | Job | 1 | 25000 | 25000
13 | Project Management & Margins | LS | 1 | 55000 | 55000

## BOQ - Mist Cooling
SL NO | ITEM DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Pump | Nos. | 3 | 65550 | 196650
2 | Pipeline | Mtr | 115 | 523 | 60145
3 | Pipeline | Mtr | 150 | 466 | 69900
4 | Pipeline | Mtr | 30 | 304 | 9120
5 | Pipeline | Mtr | 65 | 361 | 23465
6 | Pipeline | Mtr | 10 | 105 | 1050
7 | Pipeline | Mtr | 3 | 1425 | 4275
8 | Other Fittings | Set | 1 | 14250 | 14250
9 | Water Filter System 20” X 4" | Nos. | 2 | 4156 | 8312
10 | Imported Nozzles | Nos. | 280 | 304 | 85120
11 | Gate Valve | Nos. | 6 | 1425 | 8550
12 | Solenoid Valve | Nos. | 3 | 9500 | 28500
13 | Control Panel | Nos. | 2 | 20900 | 41800
14 | Installation charges | - | 1 | 104500 | 104500
15 | Project Management & Margins | LS | 1 | 47500 | 47500